## Slide 1: Thermodynamics
Ch4 : Pure Substance & Eqs. of state
1. Phase Changes
Prof. Mohamed Nabil Sabry

## Slide 2: Definitions
Homogeneous and invariable chemical
Composition in all phases
Pure substance
A Group of molecules having:
Homogeneous chemical Composition
Homogeneous physical Properties
Examples
Gas
Liquid
Solid
  various crystalline structures
Phase
H2O, CO2, …
But air ??

## Slide 3: Evaporation at Constant Pressure 1
T
v
P=P1
Superheated
vapor
Saturated
Liquid
Saturated
Vapor
Wet
Vapor
Liquid
Gas
Compressed
(Sub cooled)
Liquid
Evaporation at constant pressure  constant temperature
a
b
c
d

## Slide 4: Evaporation at Constant Pressure 2
Saturation Lines
T
v
P1
P2>P1
Superheated
vapor
Compressed
(Sub cooled)
Liquid
vcr
Tcr
Pcr
Critical
Point
Saturated
Liquid
Saturated
Vapor
Wet
Vapor
Gas
Liquid
C
c
d
a
b
c'
d'
a'
b'
P > Pcr
vapor

## Slide 5: Fusion and Sublimation
P2
L
S
G
S+G
L+G
S+L
T
v
P1
P4
Triple Line (S+L+G)
G
Gas
L
Liquid
S
Solid
Fusion
Changing phase
at constant pressure
 constant temperature
Sublimation
P3
If we heat a solid at const P:
 fusion at constant T
 evaporation at constant T
The operation can be repeated at other pressures => lines of saturation
If we heat a solid at very low pressure:
 sublimation at constant T
e
f
g
a
k
l
m
n
x
y
z

## Slide 6: Ice cubes float !?
L
S
G
S+G
L+G
S+L
T
v
!
Water:
A special case
Energy needed
to transform 1 kg
From
Solid
Liquid
Solid
To
Liquid
Vapor
Vapor
Latent
Heat
of:
Fusion
Evaporation
Sublimation
Ice cubes float:
Solid Density < liquid density
Ice cubes shrink
during fusion

## Slide 7: Summary
Pure substance: invariable chemical composition in all phases
Evaporation passes through:
Compressed (or subcooled) liquid
– Saturated liquid – Wet vapor –
Saturated vapor – Superheated vapor
Other phase changes include fusion, sublimation, …
Special states include:
Saturation lines – Critical point (Critical temperature Tc and Pressure Pc) – Triple Line
During phase change at constant pressure: Temperature remains constant, heat exchanged is called Latent Heat
Some materials shrink upon fusion, most materials expand